## 2024
DỮ LIỆU KẾT QUẢ THEO DÕI CHẤT LƯỢNG VI SINH - NĂM ... RAW DATA FOR MICROBIAL MONITORING - YEAR …
[PHÒNG/ THIẾT BỊ]/ [CẤP SẠCH]- [KHU VỰC] [ROOM/ EQUIMENT]/ [GRADE]- [AREA]
Phương pháp lấy mẫu/ Sampling method |  | Phương pháp đặt đĩa thạch/ Settle plates method | Phương pháp lấy mẫu bề mặt Surface sampling method
Tiêu chuẩn chấp nhận Acceptance criteria |  | 50 | 100
Giới hạn cảnh báo Alert limit |  | 10 | 20
Giới hạn hành động Action limit |  | 25 | 50
Tên phòng Room name | Phương pháp lấy mẫu Sampling method | Tần suất Frequency | Vị trí lấy mẫu Sampling location | Mã số điểm lấy mẫu Sampling location ID | 2024-01-05 | 2024-01-19 | 2024-02-02 | 2024-02-16 | 2024-03-04 | 2024-03-18 | 2024-04-03 | 2024-04-17 | 2024-05-03 | 2024-05-17 | 2024-06-03 | 2024-06-13
Tủ LAF vi sinh Telstar Bio II Advance Plus 4 Biological safety cabinet Telstar Bio II Advance Plus 4 | Passive | 2 tuần/ lần | Góc trong bên trái Inside corner in the left | 0204019-P1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Góc ngoài bên phải Outside corner in the right | 0204019-P2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Rodac | 2 tuần/ lần | Bàn LAF Table of LAF Cửa kính, phía trong Glass door, inside | 0204019-R1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Cửa kính, phía trong Glass door, inside | 0204019-R2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tủ LAF vi sinh Telstar Bio II Advance Plus 6 1 Biological safety cabinet Telstar Bio II Advance Plus 6 1 | Passive | 2 tuần/ lần | Góc trong bên trái Inside corner in the left | 0204020-P1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Góc ngoài bên phải Outside corner in the right | 0204020-P2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Rodac | 2 tuần/ lần | Bàn LAF Table of LAF Cửa kính, phía trong Glass door, inside | 0204020-R1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Cửa kính, phía trong Glass door, inside | 0204020-R2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tủ LAF vi sinh Telstar Bio II Advance Plus 6 2 Biological safety cabinet Telstar Bio II Advance Plus 6 2 | Passive | 2 tuần/ lần | Góc trong bên trái Inside corner in the left | 0204021-P1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Góc ngoài bên phải Outside corner in the right | 0204021-P2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Rodac | 2 tuần/ lần | Bàn LAF Table of LAF Cửa kính, phía trong Glass door, inside | 0204021-R1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Cửa kính, phía trong Glass door, inside | 0204021-R2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0